## Measurements
SysConst | AvgTime | Oxygen
| 4 | 21
ChambConst | Chamber | Aperture | blc_a | blc_b | blc_c | blc_d | blc_e | blc_minS | blc_maxS | blc_Po
| 6800-13 |  | 0.43 | 0.26783 | -0.0001164 | 0.0022482 | -0.0051095 | 6 | 36 | 96.8
LTConst | deltaTw | fT1 | fT2 | fTeb
| 0 | 1 | 0 | 0
LQConst | Leaf | Ambient | abs_ambient | abs_redLED | abs_greenLED | abs_blueLED | abs_whiteLED | abs_redFlr | abs_blueFlr | k_ambient | k_redLED | k_greenLED | k_blueLED | k_whiteLED | k_redFlr | k_blueFlr
| standard | Sun+Sky | 0.8 | 0.84 | 0.7 | 0.87 | 0.75 | 0.84 | 0.87 | 0.1911 | 0.1512 | 0.161 | 0.2262 | 0.1575 | 0.1596 | 0.2175
QConst | fQ_Amb_in | fQ_Amb_out | fQ_HeadLS | fQ_ConsoleLS | fQ_Flr
| 0 | 0 | 1 | 0 | 0
LeakConst | fan_a | fan_b | fan_c | fan_d | Fs_meas | Fs_true | leak_wt
| -6276 | 6.6 | 1.709e-05 | 3.11 | 4.42326 87.6167 375.175 611.66 858.951 1043.21 1224.25 1372.07 | 0.0115065 101.971 400.999 601.392 800.071 1001.18 1199.4 1400.9 | 0
SysObs | SysObs | SysObs | SysObs | SysObs | SysObs | UserDefCon | UserDefCon | UserDefCon | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | Leak | Leak | Leak | Leak | Leak | LeafQ | LeafQ | LeafQ | LeafQ | Const | Const | Const | Const | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | HeadLS | HeadLS | HeadLS | HeadLS | HeadLS | HeadLS | HeadLS | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status
obs | time | elapsed | date | hhmmss | averaging | replicate | species | machine | TIME | E | Emm | A | Ca | Ci | Pci | Pca | gsw | gbw | gtw | gtc | Rabs | TleafEB | TleafCnd | SVPleaf | RHcham | VPcham | SVPcham | VPDleaf | LatHFlux | SenHFlux | NetTherm | EBSum | Leak | LeakPct | CorrFact | CorrFactPct | Fan | Qin | Qabs | alpha | convert | S | K | Geometry | Custom | TIME | CO2_s | CO2_r | H2O_s | H2O_r | CO2_a | H2O_a | Flow | Pa | ΔPcham | Tair | Tleaf | Tleaf2 | Offset | Offset2 | Fan_speed | Qamb_in | Qamb_out | ΔCO2 | CO2_s_d | CO2_r_d | ΔH2O | CO2_b | H2O_b | e_s | e_r | Td_s | Td_r | Q | f_red | f_green | f_blue | f_white | Tled | Pc | time | hhmmss | co2_t | h2o_t | count | co2_adj | h2o_adj | co2_match | h2o_match | co2_at | h2o_at | co2_cv | h2o_cv | A:MN | A:SLP | A:SD | A:OK | ΔCO2:MN | ΔCO2:SLP | ΔCO2:SD | ΔCO2:OK | ΔH2O:MN | ΔH2O:SLP | ΔH2O:SD | ΔH2O:OK | gsw:MN | gsw:SLP | gsw:SD | gsw:OK | Stable | Total | State | Vflow | VPchamber | abs_c_a | abs_c_b | abs_h_a | abs_h_b | Wc_s | Wc_r | Wco_s | Wco_r | Ww_s | Ww_r | Wwo_s | Wwo_r | Flow_s_v | Flow_r_v | Tleaf_mv | Tleaf2_mv | Tleaf_j | Tleaf2_j | Console_RH | Console_T | Console_H2O | Fan_% | Flow_% | Pump | Tchp_pwm | Txchg_pwm | diag_20v | diag_5_4v | diag_12v | diag_5va | diag_3_3vf | AccCO2_soda | AccH2O_des | AccH2O_hum | CO2_hrs | ADC_CH1 | ADC_CH2 | ADC_CH3 | ADC_CH4 | ADC_CH5 | ADC_CH6 | ADC_CH7 | ADC_CH8 | DAC_1 | DAC_2 | DAC_3 | DAC_4 | GPIO | GPIO_dir | excit_5v | power_12v | power_5v | ch1_pullup | AuxPower | MatchValveR | MatchValveS | MatchCO2 | MatchH2O | cf_co2_a | cf_co2_b | cf_co2_c | cf_co2_d | cf_h2o_a | cf_h2o_b | cf_h2o_c | cf_h2o_d | co2_fit_low | co2_fit_high | h2o_fit_low | h2o_fit_high | co2_elapsed | h2o_elapsed | CO2_f | CO2_f_s | Pump_f | Pump_f_s | Pump_p | Pump_p_s | Tboard | V_system | DIAG | Flow_s | Flow_r | Txchg | Tirga | Tchopper | Ts | Tr | CO2_% | Desiccant_% | Humidifier_% | Txchg_sp | CO2_r_sp | H2O_r_sp | SS_s | SS_r
| s | s |  |  | s |  |  |  | s | mol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | Pa | Pa | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | W m⁻² | °C | °C | kPa | % | kPa | kPa | kPa | W m⁻² | W m⁻² | W m⁻² | W m⁻² | µmol s⁻¹ | % |  | % | µmol s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | J/µmol | cm² |  |  | mol m⁻² s⁻¹ | s | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol s⁻¹ | kPa | kPa | °C | °C | °C | °C | °C | rpm | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | kPa | kPa | °C | °C | µmol m⁻² s⁻¹ |  |  |  |  | °C |  | secs |  | s | s |  | µmol/mol | mmol/mol | µmol/mol | mmol/mol | µmol/mol | mmol/mol | % | % | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ min⁻¹ | µmol m⁻² s⁻¹ |  |  | min⁻¹ |  |  |  | min⁻¹ |  |  | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ min⁻¹ | mol m⁻² s⁻¹ |  |  |  |  | V | V | [12 empty] | V | V | mV | mV | °C | °C | % | °C | mmol mol⁻¹ | % | % |  | V | V | V | V | V | V | V | mg | mg | mg | hrs | [18 empty] | V | % | % | µmol/mol | mmol/mol | mmol/mol |  |  |  | mmol/mol |  |  |  | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | min | min | V | V | V | V | V | V | °C | V |  | µmol s⁻¹ | µmol s⁻¹ | °C | °C | °C | °C | °C | % | % | % | °C | µmol mol⁻¹ | mmol mol⁻¹ | % | % | bar: ADC_CH1 to DAC_4
1 | 1691154953 | 0 | 20230804 08:15:53 | 08:15:53 | none | 1 | C3 plant | pluto | 1691154953 | 0.0037241 | 3.7241 | 32.8098 | 421.409 | 315.7006 | 31.2891 | 41.7659 | 0.58784 | 2.033 | 0.50728 | 0.32336 | 276.1146 | 28.4494 | 27.997 | 3.7942 | 83.7565 | 3.0918 | 3.6915 | 0.70233 | -164.2346 | -51.5034 | -5.509 | 54.8676 | 31 | 8 | 1 | 0 | 52381.2271 | 1800 | 1499.115 | 0.83284 | 0.1534 | 34.17 | 0.5 | 0: Broadleaf | 2 | 1691154953 | 421.409 | 715.04 | 31.1961 | 0.38071 | 425.999 | 30.9314 | 400.073 | 99.0102 | 0.099916 | 27.5271 | 27.997 | 999.9 | 0 | 0 | 10023.8 | 925.838 | 0.0019112 | -293.16 | 435.464 | 715.312 | 30.8154 | 715.04 | 0.38071 | 3.0887 | 0.037694 | 24.5142 | -33.1308 | 1800 | 0.91002 | 0.033993 | 0.021997 | 0.033989 | 25 | 32963.1 | 1691154990 | 08:16:30 | 1691154990 | 1691153643.6 | 2 | 0.326 | -0.033 | -4.59 | -0.133 | 715 | 12 | 0.02 | 0.02 | 31.091 | -0.048436 | 0.014983 | 1 | -293.1328 | 0.79658 | 0.11554 | -1 | 30.845 | -0.068045 | 0.0075431 | -1 | 0.56087 | 0.0064462 | 0.001312 | 1 | 2 | 2 | 2/2 | 2.6619 | 2.7908 | 0.10551 | 0.1503 | 0.14046 | 0.0032338 | 23864.4 | 24275.6 | 24521.9 | 27852.9 | 28010.1 | 40380.6 | 33596.5 | 42748.9 | 1.7987 | 1.8431 | 0.12813 | 0 | 25.9013 | 25.9955 | 23.4 | 26.6 | 8.2625 | 63.0802 | 23.6378 | 1 | -0.15895 | -1.4757 | 20.14 | 5.2281 | 11.9887 | 4.9946 | 3.291 | 9999 | 9999 | 9999 | 999.9 | 1.8778 | 1.8738 | 1.8702 | 1.8721 | 1.8776 | 1.8739 | 1.8718 | 1.8705 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -4.59 | 0.2647 | -2.6834 | -0.0038409 | 1.222e-06 | -2.7416e-10 | 0.26473 | 0 | 0 | 0 | 3 | 2222 | 1 | 19 | 21.9 | 21.8 | 1.5466 | 2.4695 | 1.4478 | 2.2925 | 1.6467 | 2.4085 | 31.3462 | 23.9474 | 19 | 344.221 | 439.68 | 27.7015 | 25.3024 | 30.0001 | 25.3673 | 25.3534 | 30.9574 | 100 | 0 | 27.7178 | 715 | 0 | 99.7052 | 100.06
2 | 1691155133 | 180 | 20230804 08:18:53 | 08:18:53 | none | 1 | C3 plant | pluto | 1691155133 | 0.0035363 | 3.5363 | 32.4927 | 424.602 | 323.3051 | 32.0416 | 42.0808 | 0.60962 | 2.0303 | 0.52335 | 0.33382 | 276.1169 | 28.3763 | 27.9885 | 3.7923 | 85.9409 | 3.1461 | 3.6607 | 0.64622 | -155.9488 | -66.1352 | -7.0781 | 46.9547 | 31 | 8 | 1 | 0 | 52278.5912 | 1800 | 1499.1122 | 0.83284 | 0.1534 | 34.17 | 0.5 | 0: Broadleaf | 2 | 1691155133 | 424.602 | 714.932 | 31.7444 | 2.5015 | 428.402 | 31.4796 | 400.09 | 99.0065 | 0.10001 | 27.3843 | 27.9885 | 999.9 | 0 | 0 | 9998.75 | 923.07 | 0.0016818 | -290.33 | 438.522 | 716.724 | 29.2429 | 714.932 | 2.5015 | 3.1429 | 0.24766 | 24.805 | -11.8769 | 1800 | 0.90999 | 0.034 | 0.022011 | 0.034003 | 25 | 32962.9 | 1691154990 | 08:16:30 | 1691154990 | 1691153643.6 | 2 | 0.326 | -0.033 | -4.59 | -0.133 | 715 | 12 | 0.02 | 0.02 | 30.9654 | -0.35279 | 0.06022 | 1 | -290.4095 | 0.7985 | 0.22109 | -1 | 27.3763 | 10.9405 | 1.0789 | -1 | 0.51485 | 0.2635 | 0.038087 | 0 | 1 | 2 | 1/2 | 2.6618 | 2.7909 | 0.10597 | 0.15033 | 0.14214 | 0.019071 | 23843.8 | 24277.5 | 24513.1 | 27855.7 | 27943.9 | 39739.6 | 33585.2 | 42753.8 | 1.7999 | 1.846 | 0.12939 | 0 | 25.8722 | 25.992 | 35.6 | 26.9 | 12.7941 | 63.3803 | 24.0705 | 1 | -0.15939 | -1.0814 | 20.1436 | 5.2288 | 11.9875 | 4.9951 | 3.291 | 9999 | 9999 | 9999 | 999.9 | 1.8778 | 1.8738 | 1.8702 | 1.8721 | 1.8776 | 1.8739 | 1.8718 | 1.8705 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -3.8 | 0.2648 | -2.3575 | -0.0038409 | 1.222e-06 | -2.7416e-10 | 0.26473 | 0 | 0 | 0 | 3 | 2222 | 1 | 19 | 2.4 | 24.8 | 1.5454 | 2.4731 | 1.4465 | 2.2888 | 1.6467 | 2.3938 | 31.4988 | 23.9474 | 19 | 344.83 | 441.346 | 27.0339 | 25.3107 | 30.0002 | 25.3716 | 25.3357 | 30.9585 | 90.0843 | 42.4944 | 27.0537 | 715 | 1.3426 | 99.6708 | 100.071
3 | 1691155313 | 360 | 20230804 08:21:53 | 08:21:53 | none | 1 | C3 plant | pluto | 1691155313 | 0.0037137 | 3.7137 | 32.5444 | 423.764 | 321.5694 | 31.8685 | 41.9963 | 0.60592 | 2.0282 | 0.52053 | 0.332 | 276.1138 | 28.376 | 27.9285 | 3.7791 | 84.2739 | 3.0965 | 3.6744 | 0.68251 | -163.7727 | -52.5607 | -5.6314 | 54.149 | 30 | 7 | 1 | 0 | 52165.3378 | 1800 | 1499.1095 | 0.83284 | 0.1534 | 34.17 | 0.5 | 0: Broadleaf | 2 | 1691155313 | 423.764 | 715.083 | 31.2457 | 0.52715 | 427.562 | 30.981 | 400.185 | 99.0029 | 0.10009 | 27.4478 | 27.9285 | 999.9 | 0 | 0 | 9978.75 | 923.468 | 0.0017201 | -291.318 | 437.432 | 715.46 | 30.7185 | 715.083 | 0.52715 | 3.0934 | 0.052189 | 24.5395 | -29.7438 | 1800 | 0.91 | 0.034003 | 0.021988 | 0.034006 | 25 | 32963.2 | 1691154990 | 08:16:30 | 1691154990 | 1691153643.6 | 2 | 0.326 | -0.033 | -4.59 | -0.133 | 715 | 12 | 0.02 | 0.02 | 30.894 | -0.025409 | 0.0093603 | 1 | -291.3845 | 0.47597 | 0.07157 | -1 | 30.715 | 0.056279 | 0.0058164 | -1 | 0.56397 | 0.042056 | 0.0064441 | 1 | 2 | 2 | 2/2 | 2.6622 | 2.791 | 0.1058 | 0.1503 | 0.14061 | 0.0044392 | 23857 | 24280.7 | 24522.1 | 27858.7 | 28005.1 | 40341.6 | 33596.3 | 42759.7 | 1.8015 | 1.8394 | 0.12802 | 0 | 25.8345 | 25.9385 | 31.3 | 27 | 11.3148 | 63.5603 | 23.4215 | 1 | -0.15896 | -1.3719 | 20.1406 | 5.2288 | 11.9888 | 4.9955 | 3.291 | 9999 | 9999 | 9999 | 999.9 | 1.8778 | 1.8738 | 1.8702 | 1.8721 | 1.8776 | 1.8739 | 1.8718 | 1.8705 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -3.798 | 0.2647 | -2.3575 | -0.0038409 | 1.222e-06 | -2.7416e-10 | 0.26473 | 0 | 0 | 0 | 3 | 2222 | 1 | 19 | 5.4 | 27.8 | 1.5454 | 2.4744 | 1.4478 | 2.2888 | 1.6467 | 2.3047 | 31.6298 | 23.9387 | 19 | 345.48 | 437.365 | 27.4609 | 25.3052 | 30.0001 | 25.3631 | 25.347 | 30.9429 | 100 | 29.5783 | 27.5107 | 715 | 0 | 99.7054 | 100.084
4 | 1691155493 | 540 | 20230804 08:24:53 | 08:24:53 | none | 1 | C3 plant | pluto | 1691155493 | 0.0037106 | 3.7106 | 32.4768 | 424.103 | 317.4376 | 31.455 | 42.0245 | 0.57553 | 2.0324 | 0.49805 | 0.31737 | 276.1169 | 28.4366 | 28.0141 | 3.798 | 83.6695 | 3.0854 | 3.6876 | 0.7126 | -163.636 | -55.343 | -5.9216 | 51.2163 | 29 | 7 | 1 | 0 | 52351.9207 | 1800 | 1499.1113 | 0.83284 | 0.1534 | 34.17 | 0.5 | 0: Broadleaf | 2 | 1691155493 | 424.103 | 714.895 | 31.1369 | 0.43525 | 427.902 | 30.8722 | 400.116 | 98.9905 | 0.099806 | 27.509 | 28.0141 | 999.9 | 0 | 0 | 10019.4 | 924.247 | 0.0018156 | -290.792 | 437.733 | 715.206 | 30.7017 | 714.895 | 0.43525 | 3.0823 | 0.043086 | 24.4791 | -31.7524 | 1800 | 0.90998 | 0.034001 | 0.022012 | 0.034004 | 25 | 32963 | 1691154990 | 08:16:30 | 1691154990 | 1691153643.6 | 2 | 0.326 | -0.033 | -4.59 | -0.133 | 715 | 12 | 0.02 | 0.02 | 30.8417 | -0.001074 | 0.0075382 | 1 | -290.9261 | 0.019882 | 0.045711 | -1 | 30.7171 | -0.045962 | 0.007218 | -1 | 0.55364 | -0.018476 | 0.0029865 | 1 | 2 | 2 | 2/2 | 2.662 | 2.7907 | 0.10585 | 0.15026 | 0.14025 | 0.0036846 | 23856.7 | 24282.1 | 24523.2 | 27858.9 | 28018.9 | 40373.7 | 33598.6 | 42761 | 1.8035 | 1.8387 | 0.1323 | 0 | 25.8503 | 25.9393 | 26.8 | 27.3 | 9.8617 | 63.3203 | 23.6899 | 1 | -0.15907 | -1.2633 | 20.1414 | 5.2288 | 11.9894 | 4.9943 | 3.291 | 9999 | 9999 | 9999 | 999.9 | 1.8778 | 1.8738 | 1.8703 | 1.8721 | 1.8776 | 1.8739 | 1.8718 | 1.8705 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -3.799 | 0.2647 | -2.3575 | -0.0038409 | 1.222e-06 | -2.7416e-10 | 0.26473 | 0 | 0 | 0 | 3 | 2222 | 1 | 19 | 8.4 | 30.8 | 1.5466 | 2.4744 | 1.4478 | 2.2888 | 1.6467 | 2.2974 | 31.7392 | 23.9474 | 19 | 346.37 | 436.935 | 27.7061 | 25.3054 | 30 | 25.3609 | 25.347 | 30.9608 | 100 | 19.179 | 27.6973 | 715 | 0 | 99.7112 | 100.086
5 | 1691155673 | 720 | 20230804 08:27:53 | 08:27:53 | none | 1 | C3 plant | pluto | 1691155673 | 0.003741 | 3.741 | 32.3901 | 424.758 | 322.1932 | 31.9232 | 42.0855 | 0.60045 | 2.031 | 0.51659 | 0.32942 | 276.1161 | 28.4121 | 28.0061 | 3.7962 | 84.2344 | 3.1037 | 3.6845 | 0.69254 | -164.9789 | -55.9627 | -5.9913 | 49.1832 | 29 | 7 | 1 | 0 | 52289.7731 | 1800 | 1499.1138 | 0.83284 | 0.1534 | 34.17 | 0.5 | 0: Broadleaf | 2 | 1691155673 | 424.758 | 714.931 | 31.3244 | 0.37779 | 428.559 | 31.0597 | 400.129 | 98.9811 | 0.099937 | 27.495 | 28.0061 | 999.9 | 0 | 0 | 10007.5 | 924.028 | 0.0019112 | -290.173 | 438.494 | 715.201 | 30.9466 | 714.931 | 0.37779 | 3.1005 | 0.037394 | 24.5778 | -33.2125 | 1800 | 0.91 | 0.033994 | 0.022007 | 0.033997 | 25 | 32963 | 1691154990 | 08:16:30 | 1691154990 | 1691153643.6 | 2 | 0.326 | -0.033 | -4.59 | -0.133 | 715 | 12 | 0.02 | 0.02 | 30.7458 | -0.04736 | 0.012435 | 1 | -290.1743 | 0.70994 | 0.10695 | -1 | 30.9317 | 0.0060544 | 0.0050595 | -1 | 0.56705 | 0.0051273 | 0.0011461 | 1 | 2 | 2 | 2/2 | 2.662 | 2.7908 | 0.10596 | 0.15024 | 0.14081 | 0.0032085 | 23851 | 24281.1 | 24520.4 | 27857.3 | 27997.9 | 40391.8 | 33595.7 | 42759.8 | 1.8041 | 1.8366 | 0.12748 | 0 | 25.9212 | 25.9957 | 23.2 | 27.4 | 8.5887 | 63.0804 | 24.1346 | 1 | -0.15648 | -1.0666 | 20.143 | 5.2288 | 11.9894 | 4.9957 | 3.291 | 9999 | 9999 | 9999 | 999.9 | 1.8778 | 1.8738 | 1.8702 | 1.8721 | 1.8776 | 1.8739 | 1.8718 | 1.8705 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -3.801 | 0.2647 | -2.3575 | -0.0038409 | 1.222e-06 | -2.7416e-10 | 0.26473 | 0 | 0 | 0 | 3 | 2222 | 1 | 19 | 11.4 | 33.8 | 1.5478 | 2.4756 | 1.4478 | 2.29 | 1.6467 | 2.3547 | 31.8927 | 23.9474 | 19 | 346.774 | 435.86 | 27.4023 | 25.3382 | 30.0002 | 25.3857 | 25.3716 | 30.9838 | 100 | 10.8116 | 27.395 | 715 | 0 | 99.7013 | 100.082
6 | 1691155853.1 | 900.1 | 20230804 08:30:53 | 08:30:53 | none | 1 | C3 plant | pluto | 1691155853.1 | 0.0037386 | 3.7386 | 32.253 | 425.952 | 322.5047 | 31.9553 | 42.2053 | 0.59186 | 2.0328 | 0.51027 | 0.32531 | 276.1156 | 28.4104 | 28.0219 | 3.7997 | 84.1169 | 3.099 | 3.6842 | 0.70069 | -164.8704 | -57.9404 | -6.1981 | 47.1067 | 28 | 7 | 1 | 0 | 52373.75 | 1800 | 1499.1155 | 0.83284 | 0.1534 | 34.17 | 0.5 | 0: Broadleaf | 2 | 1691155853.1 | 425.952 | 715.045 | 31.2763 | 0.34193 | 429.756 | 31.0116 | 400.044 | 98.9849 | 0.099719 | 27.4932 | 28.0219 | 999.9 | 0 | 0 | 10023.8 | 924.342 | 0.0016818 | -289.093 | 439.704 | 715.29 | 30.9344 | 715.045 | 0.34193 | 3.0959 | 0.033846 | 24.5528 | -34.2278 | 1800 | 0.91001 | 0.033993 | 0.022003 | 0.033991 | 25 | 32963 | 1691154990 | 08:16:30 | 1691154990 | 1691153643.6 | 2 | 0.326 | -0.033 | -4.59 | -0.133 | 715 | 12 | 0.02 | 0.02 | 30.6229 | -0.048495 | 0.010627 | 1 | -289.098 | 0.59489 | 0.093761 | -1 | 30.9538 | -0.058961 | 0.0076907 | -1 | 0.56703 | -0.018154 | 0.0028555 | 1 | 2 | 2 | 2/2 | 2.6617 | 2.7906 | 0.10617 | 0.15024 | 0.14065 | 0.0029098 | 23844.8 | 24280.6 | 24520.2 | 27857.1 | 28004 | 40404.8 | 33595.8 | 42760.6 | 1.8036 | 1.8352 | 0.12445 | 0 | 25.9868 | 26.0703 | 20.7 | 27.7 | 7.7982 | 62.9876 | 24.2468 | 1 | -0.15106 | -0.97454 | 20.1435 | 5.2275 | 11.9872 | 4.9948 | 3.2908 | 9999 | 9999 | 9999 | 999.9 | 1.8778 | 1.8738 | 1.8703 | 1.8721 | 1.8776 | 1.874 | 1.8718 | 1.8706 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -3.804 | 0.2647 | -2.3575 | -0.0038409 | 1.222e-06 | -2.7416e-10 | 0.26473 | 0 | 0 | 0 | 3 | 2222 | 1 | 19 | 14.4 | 36.8 | 1.5478 | 2.478 | 1.4478 | 2.2913 | 1.6467 | 2.2949 | 32.1124 | 23.9387 | 19 | 346.884 | 435.434 | 27.3341 | 25.4028 | 30.0001 | 25.4398 | 25.4254 | 27.8131 | 100 | 3.9622 | 27.3212 | 715 | 0 | 99.7011 | 100.083
7 | 1691156033.1 | 1080.1 | 20230804 08:33:53 | 08:33:53 | none | 1 | C3 plant | pluto | 1691156033.1 | 0.0037556 | 3.7556 | 20.3364 | 267.559 | 204.3929 | 20.2517 | 26.5103 | 0.61414 | 2.03 | 0.52667 | 0.33598 | 276.1172 | 28.3622 | 27.9817 | 3.7908 | 84.5977 | 3.1088 | 3.6749 | 0.68195 | -165.6236 | -58.1899 | -6.2306 | 46.0731 | 28 | 7 | 1 | 0 | 52251.1202 | 1800.01 | 1499.1203 | 0.83284 | 0.1534 | 34.17 | 0.5 | 0: Broadleaf | 2 | 1691156033.1 | 267.559 | 449.814 | 31.3764 | 0.30951 | 271.239 | 31.1116 | 400.116 | 98.9821 | 0.10009 | 27.45 | 27.9817 | 999.9 | 0 | 0 | 9998.12 | 923.662 | 0.0017774 | -181.891 | 276.603 | 449.954 | 31.0669 | 449.814 | 0.30951 | 3.1057 | 0.030636 | 24.6057 | -35.2329 | 1800.01 | 0.91 | 0.03401 | 0.022002 | 0.033988 | 25 | 32963.1 | 1691156065.6 | 08:34:25 | 1691156065.6 | 1691153643.6 | 3 | 0.193 | -0.033 | -3.68 | -0.133 | 450 | 12 | 0.02 | 0.02 | 19.2629 | -0.013484 | 0.0071792 | 1 | -181.9059 | 0.63799 | 0.073457 | -1 | 31.0425 | 0.1655 | 0.016721 | -1 | 0.57778 | 0.029458 | 0.0045222 | 1 | 2 | 2 | 2/2 | 2.6618 | 2.791 | 0.073629 | 0.10794 | 0.14094 | 0.0026386 | 24710.8 | 25487.7 | 24518.8 | 27857.2 | 27990.4 | 40411.5 | 33593.9 | 42760.4 | 1.8048 | 1.8324 | 0.12691 | 0 | 25.906 | 26.0211 | 19.4 | 27.8 | 7.3513 | 63.0176 | 23.3814 | 1 | -0.14779 | -1.2143 | 20.1422 | 5.2285 | 11.9894 | 4.9955 | 3.291 | 9999 | 9999 | 9999 | 999.9 | 1.8778 | 1.8738 | 1.8702 | 1.8721 | 1.8776 | 1.8739 | 1.8718 | 1.8705 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -3.68 | 0.2648 | -2.3575 | -0.0038409 | 1.222e-06 | -2.7416e-10 | 0.26473 | 0 | 0 | 0 | 3 | 2222 | 1 | 19 | 17.4 | 39.8 | 1.0681 | 2.478 | 1.4478 | 2.2913 | 1.6467 | 2.4219 | 32.1564 | 23.9474 | 19 | 347.664 | 434.075 | 27.4603 | 25.4388 | 30.0003 | 25.4825 | 25.4679 | 21.4035 | 100 | 0 | 27.4683 | 450 | 0 | 99.6955 | 100.083
8 | 1691156213.1 | 1260.1 | 20230804 08:36:53 | 08:36:53 | none | 1 | C3 plant | pluto | 1691156213.1 | 0.0035742 | 3.5742 | 20.2625 | 269.026 | 205.215 | 20.3317 | 26.6538 | 0.60338 | 2.0303 | 0.51873 | 0.33082 | 276.1153 | 28.2934 | 27.9099 | 3.775 | 85.4662 | 3.116 | 3.6459 | 0.65891 | -157.6226 | -65.1038 | -6.9629 | 46.4261 | 28 | 7 | 1 | 0 | 52286.2858 | 1800 | 1499.1113 | 0.83284 | 0.1534 | 34.17 | 0.5 | 0: Broadleaf | 2 | 1691156213.1 | 269.026 | 450.275 | 31.4513 | 1.8882 | 272.15 | 31.1866 | 400.126 | 98.975 | 0.10013 | 27.3151 | 27.9099 | 999.9 | 0 | 0 | 10001.2 | 921.794 | 0.0018729 | -181.249 | 277.762 | 451.127 | 29.5631 | 450.275 | 1.8882 | 3.1129 | 0.18689 | 24.6444 | -15.3279 | 1800 | 0.91 | 0.034009 | 0.022001 | 0.033987 | 25 | 32963 | 1691156065.6 | 08:34:25 | 1691156065.6 | 1691153643.6 | 3 | 0.193 | -0.033 | -3.68 | -0.133 | 450 | 12 | 0.02 | 0.02 | 19.2574 | -0.28139 | 0.044879 | 1 | -180.7952 | -0.49959 | 0.18685 | -1 | 27.8918 | 9.7481 | 0.96131 | -1 | 0.51701 | 0.21096 | 0.03056 | 0 | 1 | 2 | 1/2 | 2.6618 | 2.791 | 0.073835 | 0.10805 | 0.14117 | 0.014793 | 24707.9 | 25490.8 | 24521.2 | 27863.5 | 27984.9 | 39925.9 | 33596.9 | 42771.1 | 1.8046 | 1.8358 | 0.13832 | 0 | 25.647 | 25.8121 | 32.8 | 28 | 12.5754 | 63.1376 | 24.2588 | 1 | -0.15354 | -1.4152 | 20.1403 | 5.2282 | 11.9885 | 4.9951 | 3.291 | 9999 | 9999 | 9999 | 999.9 | 1.8778 | 1.8738 | 1.8702 | 1.8721 | 1.8776 | 1.8739 | 1.8718 | 1.8705 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -3.124 | 0.2647 | -2.1645 | -0.0038409 | 1.222e-06 | -2.7416e-10 | 0.26473 | 0 | 0 | 0 | 3 | 2222 | 1 | 19 | 2.5 | 42.8 | 1.0669 | 2.4841 | 1.4478 | 2.2876 | 1.6467 | 2.3132 | 31.9805 | 23.9474 | 19 | 347.431 | 435.815 | 27.2355 | 25.4104 | 29.9996 | 25.4619 | 25.425 | 21.3867 | 95.8225 | 42.6397 | 27.2881 | 450 | 0.6262 | 99.7047 | 100.107
9 | 1691156393.1 | 1440.1 | 20230804 08:39:53 | 08:39:53 | none | 1 | C3 plant | pluto | 1691156393.1 | 0.0036815 | 3.6815 | 20.4061 | 267.509 | 199.0713 | 19.7244 | 26.5053 | 0.56202 | 2.0294 | 0.4878 | 0.31072 | 276.1161 | 28.3974 | 27.9685 | 3.7879 | 83.3913 | 3.0659 | 3.6766 | 0.72193 | -162.3545 | -55.8532 | -5.9821 | 51.9264 | 28 | 7 | 1 | 0 | 52221.4504 | 1800 | 1499.1143 | 0.83284 | 0.1534 | 34.17 | 0.5 | 0: Broadleaf | 2 | 1691156393.1 | 267.509 | 450.172 | 30.9435 | 0.47895 | 270.629 | 30.6787 | 400.152 | 98.9819 | 0.10013 | 27.458 | 27.9685 | 999.9 | 0 | 0 | 9992.5 | 923.382 | 0.0017201 | -182.662 | 276.051 | 450.387 | 30.4645 | 450.172 | 0.47895 | 3.0628 | 0.047408 | 24.3736 | -30.7555 | 1800 | 0.91 | 0.033994 | 0.022007 | 0.033997 | 25 | 32963 | 1691156065.6 | 08:34:25 | 1691156065.6 | 1691153643.6 | 3 | 0.193 | -0.033 | -3.68 | -0.133 | 450 | 12 | 0.02 | 0.02 | 19.3879 | 0.14107 | 0.02851 | 1 | -182.9959 | 0.069332 | 0.16667 | -1 | 30.4627 | -0.12405 | 0.015556 | -1 | 0.54181 | -0.041687 | 0.0062277 | 1 | 2 | 2 | 2/2 | 2.662 | 2.791 | 0.073512 | 0.10804 | 0.13964 | 0.0040437 | 24725.2 | 25497.2 | 24529.5 | 27869.9 | 28044.7 | 40373.5 | 33607.7 | 42780.7 | 1.8066 | 1.8335 | 0.139 | 0 | 25.6945 | 25.7937 | 28.9 | 28 | 11.0794 | 63.1976 | 23.3413 | 1 | -0.16062 | -1.6401 | 20.1381 | 5.2284 | 11.9876 | 4.995 | 3.291 | 9999 | 9999 | 9999 | 999.9 | 1.8778 | 1.8739 | 1.8702 | 1.8722 | 1.8776 | 1.8739 | 1.8718 | 1.8705 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -3.12 | 0.2648 | -2.1645 | -0.0038409 | 1.222e-06 | -2.7416e-10 | 0.26473 | 0 | 0 | 0 | 3 | 2222 | 1 | 19 | 5.5 | 45.8 | 1.0644 | 2.4792 | 1.4478 | 2.2876 | 1.6467 | 2.4268 | 31.8269 | 23.9562 | 19 | 347.828 | 433.853 | 27.9247 | 25.3019 | 29.9997 | 25.3702 | 25.3577 | 21.3303 | 100 | 30.1844 | 27.9359 | 450 | 0 | 99.7375 | 100.13
10 | 1691156573.1 | 1620.1 | 20230804 08:42:53 | 08:42:53 | none | 1 | C3 plant | pluto | 1691156573.1 | 0.0038148 | 3.8148 | 20.531 | 265.88 | 206.7137 | 20.485 | 26.3483 | 0.66949 | 2.0302 | 0.56695 | 0.36224 | 276.1127 | 28.4109 | 28.0561 | 3.8073 | 85.7425 | 3.1639 | 3.69 | 0.64335 | -168.2342 | -58.6347 | -6.282 | 42.9617 | 24 | 6 | 1 | 0 | 52250.6929 | 1799.99 | 1499.104 | 0.83284 | 0.1534 | 34.17 | 0.5 | 0: Broadleaf | 2 | 1691156573.1 | 265.88 | 449.873 | 31.927 | 0.38916 | 268.995 | 31.6622 | 400.126 | 98.9985 | 0.10004 | 27.5204 | 28.0561 | 999.9 | 0 | 0 | 9998.75 | 920.882 | 0.0017583 | -183.993 | 274.649 | 450.048 | 31.5378 | 449.873 | 0.38916 | 3.1607 | 0.038526 | 24.8997 | -32.9069 | 1799.99 | 0.91001 | 0.033994 | 0.021991 | 0.034009 | 26 | 32963 | 1691156065.6 | 08:34:25 | 1691156065.6 | 1691153643.6 | 3 | 0.193 | -0.033 | -3.68 | -0.133 | 450 | 12 | 0.02 | 0.02 | 19.4912 | 0.040582 | 0.011189 | 1 | -184.046 | -0.52104 | 0.07169 | -1 | 31.5196 | 0.092544 | 0.0090099 | -1 | 0.63936 | -0.021709 | 0.0040873 | 1 | 2 | 2 | 2/2 | 2.6618 | 2.7909 | 0.073137 | 0.10797 | 0.14265 | 0.0033024 | 24714.7 | 25488.2 | 24509.6 | 27858.7 | 27922.2 | 40389.1 | 33581.8 | 42765.3 | 1.812 | 1.8314 | 0.12989 | 0 | 25.9318 | 26.0276 | 24.5 | 28.1 | 9.4463 | 62.8676 | 24.1106 | 1 | -0.14582 | -0.73736 | 20.1452 | 5.2282 | 11.989 | 4.9952 | 3.291 | 9999 | 9999 | 9999 | 999.9 | 1.8778 | 1.8738 | 1.8702 | 1.8721 | 1.8776 | 1.8739 | 1.8718 | 1.8705 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -3.115 | 0.2648 | -2.1645 | -0.0038409 | 1.222e-06 | -2.7416e-10 | 0.26473 | 0 | 0 | 0 | 3 | 2222 | 1 | 19 | 8.5 | 48.8 | 1.0693 | 2.4829 | 1.4478 | 2.2864 | 1.6467 | 2.3633 | 31.8049 | 23.9474 | 19 | 350.891 | 433.401 | 27.3687 | 25.439 | 30.001 | 25.4721 | 25.4659 | 21.4228 | 100 | 20.5633 | 27.3276 | 450 | 0 | 99.6591 | 100.092
11 | 1691156753.1 | 1800.1 | 20230804 08:45:53 | 08:45:53 | none | 1 | C3 plant | pluto | 1691156753.1 | 0.0039297 | 3.9297 | 20.5949 | 265.291 | 215.114 | 21.3146 | 26.2863 | 0.81636 | 2.0315 | 0.66922 | 0.42926 | 276.1149 | 28.3523 | 28.0672 | 3.8097 | 88.1221 | 3.2486 | 3.6865 | 0.5611 | -173.2984 | -61.6719 | -6.6032 | 34.5414 | 23 | 6 | 1 | 0 | 52312.2422 | 1800 | 1499.1083 | 0.83284 | 0.1534 | 34.17 | 0.5 | 0: Broadleaf | 2 | 1691156753.1 | 265.291 | 450.036 | 32.7863 | 0.33401 | 268.403 | 32.5216 | 400.201 | 98.9849 | 0.1 | 27.5041 | 28.0672 | 999.9 | 0 | 0 | 10011.9 | 916.759 | 0.0017201 | -184.746 | 274.283 | 450.187 | 32.4523 | 450.036 | 0.33401 | 3.2454 | 0.033062 | 25.3433 | -34.465 | 1800 | 0.90999 | 0.034003 | 0.021996 | 0.034015 | 26 | 32963 | 1691156065.6 | 08:34:25 | 1691156065.6 | 1691153643.6 | 3 | 0.193 | -0.033 | -3.68 | -0.133 | 450 | 12 | 0.02 | 0.02 | 19.543 | 0.023532 | 0.010659 | 1 | -184.7045 | -0.59818 | 0.083977 | -1 | 32.2494 | 1.0601 | 0.10232 | -1 | 0.73521 | 0.14036 | 0.021201 | 0 | 1 | 2 | 1/2 | 2.6616 | 2.7909 | 0.072906 | 0.10787 | 0.14508 | 0.0028394 | 24698.8 | 25461.1 | 24489.8 | 27828.4 | 27824.8 | 40367.3 | 33558.2 | 42722.9 | 1.8097 | 1.8245 | 0.11752 | 0 | 26.1457 | 26.2421 | 21.1 | 28.2 | 8.1839 | 63.3176 | 23.6579 | 1 | -0.098326 | -0.25572 | 20.1456 | 5.2281 | 11.9917 | 4.995 | 3.291 | 9999 | 9999 | 9999 | 999.9 | 1.8778 | 1.8739 | 1.8703 | 1.8721 | 1.8777 | 1.874 | 1.8718 | 1.8706 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -3.112 | 0.2647 | -2.1645 | -0.0038409 | 1.222e-06 | -2.7416e-10 | 0.26473 | 0 | 0 | 0 | 3 | 2222 | 1 | 19 | 11.5 | 51.8 | 1.0693 | 2.4841 | 1.4478 | 2.2888 | 1.6467 | 2.4036 | 32.0684 | 23.9474 | 19 | 352.441 | 432.577 | 26.7176 | 25.9468 | 30.0015 | 25.9168 | 25.8938 | 21.4258 | 100 | 12.6008 | 26.6875 | 450 | 0 | 99.5845 | 99.9887
12 | 1691156933.1 | 1980.1 | 20230804 08:48:53 | 08:48:53 | none | 1 | C3 plant | pluto | 1691156933.1 | 0.0042253 | 4.2253 | 20.6622 | 264.085 | 229.8353 | 22.7743 | 26.1681 | 1.3216 | 2.0313 | 0.97654 | 0.63375 | 276.1138 | 28.6174 | 28.4384 | 3.8929 | 92.367 | 3.4801 | 3.7677 | 0.41279 | -186.3348 | -61.4811 | -6.6077 | 21.6902 | 20 | 5 | 1 | 0 | 52240.4334 | 1799.99 | 1499.1038 | 0.83284 | 0.1534 | 34.17 | 0.5 | 0: Broadleaf | 2 | 1691156933.1 | 264.085 | 450.076 | 35.121 | 0.3032 | 267.194 | 34.8562 | 400.103 | 98.9897 | 0.09988 | 27.877 | 28.4384 | 999.9 | 0 | 0 | 10010 | 907.58 | 0.0018156 | -185.991 | 273.698 | 450.213 | 34.8178 | 450.076 | 0.3032 | 3.4766 | 0.030014 | 26.506 | -35.4385 | 1799.99 | 0.91 | 0.034003 | 0.022001 | 0.033992 | 28 | 32962.9 | 1691156065.6 | 08:34:25 | 1691156065.6 | 1691153643.6 | 3 | 0.193 | -0.033 | -3.68 | -0.133 | 450 | 12 | 0.02 | 0.02 | 19.6076 | 0.003554 | 0.0078036 | 1 | -185.8996 | -0.5418 | 0.080217 | -1 | 34.6826 | 0.70777 | 0.069806 | -1 | 1.2152 | 0.14628 | 0.021423 | 0 | 1 | 2 | 1/2 | 2.6604 | 2.7908 | 0.072481 | 0.10766 | 0.15172 | 0.0025755 | 24657.2 | 25416.6 | 24441 | 27778 | 27560.8 | 40310 | 33499 | 42652 | 1.8056 | 1.8133 | 0.087746 | 0 | 27.0051 | 27.0383 | 18.6 | 28.4 | 7.2985 | 63.3476 | 23.8421 | 1 | -0.015407 | -0.23712 | 20.1437 | 5.2257 | 11.992 | 4.9941 | 3.2908 | 9999 | 9999 | 9999 | 999.9 | 1.8778 | 1.8739 | 1.8702 | 1.8722 | 1.8776 | 1.874 | 1.8718 | 1.8705 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -3.109 | 0.2648 | -2.1645 | -0.0038409 | 1.222e-06 | -2.7416e-10 | 0.26473 | 0 | 0 | 0 | 3 | 2222 | 1 | 19 | 14.5 | 54.8 | 1.0693 | 2.4817 | 1.4478 | 2.2888 | 1.6467 | 2.3438 | 32.5097 | 23.9474 | 19 | 355.28 | 432.004 | 26.993 | 26.8654 | 30.0026 | 26.7297 | 26.6981 | 19.0345 | 100 | 6.1692 | 27.0038 | 450 | 0 | 99.3991 | 99.8168

## Remarks
File opened | 2023-08-04 07:54:42
Console s/n | 68C-812072
Console ver | Bluestem v.2.1.08
Scripts ver | 2022.05 2.1.08, Aug 2022
Head s/n | 68H-712062
Head ver | 1.4.22
Head cal | {"oxygen": "21", "co2azero": "0.915385", "co2aspan1": "1.00562", "co2aspan2": "-0.0163543", "co2aspan2a": "0.323813", "co2aspan2b": "0.323917", "co2aspanconc1": "2473", "co2aspanconc2": "301.4", "co2bzero": "0.971001", "co2bspan1": "1.00543", "co2bspan2": "-0.0165901", "co2bspan2a": "0.319699", "co2bspan2b": "0.31974", "co2bspanconc1": "2473", "co2bspanconc2": "301.4", "h2oazero": "1.02661", "h2oaspan1": "1.03638", "h2oaspan2": "0", "h2oaspan2a": "0.0701735", "h2oaspan2b": "0.0727267", "h2oaspanconc1": "11.69", "h2oaspanconc2": "0", "h2obzero": "1.05467", "h2obspan1": "1.02284", "h2obspan2": "0", "h2obspan2a": "0.0683454", "h2obspan2b": "0.0699065", "h2obspanconc1": "11.69", "h2obspanconc2": "0", "tazero": "0.0587292", "tbzero": "0.199738", "flowmeterzero": "0.994064", "flowazero": "0.32697", "flowbzero": "0.26414", "chamberpressurezero": "2.68058", "ssa_ref": "29145.1", "ssb_ref": "35279.6"}
CO2 rangematch | Wed Mar 8 15:59
H2O rangematch | Wed Mar 8 16:06
Chamber type | 6800-13
Chamber s/n | CHM-10902
Chamber rev | 0
Chamber cal | 8.55
HeadLS type | 6800-03
HeadLS s/n | 181039
HeadLS f | 0.0664 0.082 0.0936 0.071
HeadLS u0 | 283 351 929 371
07:54:42 | Stability Definition: ΔCO2 (Meas2): Per=20 ΔH2O (Meas2): Per=20 A (GasEx): Slp<1 Std<0.2 Per=30 gsw (GasEx): Slp<0.2 Std<0.02 Per=30